## Read me
AVSA OT Cybersecurity Maturity Assessment
C2M2 v2.1 . fictional scenario for portfolio demonstration . no real client data
Organization | Aguas de Valdenor, S.A. (AVSA), fictional municipal water utility in northern Spain.
Model | DOE Cybersecurity Capability Maturity Model (C2M2) v2.1, MIL 0 to 3.
Relationship to Phase 2 | Complements the IEC 62443 risk assessment. Risk assessment finds the holes; this measures the capability to manage them.
Tabs
Scorecard | Current vs risk-informed target MIL for each of the 10 domains, with the gap.
Gap Analysis | What is missing to close each gap, and the roadmap items that address it.
Roadmap | 14 initiatives across three horizons, tied to the risks (R-01..R-14) they close.
MIL scale | MIL0 not performed . MIL1 ad hoc . MIL2 documented and resourced . MIL3 governed, reviewed, improved.
Targets | Risk-informed, not uniformly MIL3. Effort is aimed at the domains tied to AVSA's biggest risks.
Disclaimer | Fictional organization. Public frameworks only. No client data or confidential material. C2M2 summarized and applied, not quoted.

## Scorecard
C2M2 Maturity Scorecard
Current vs risk-informed target MIL per domain. Gap = Target - Current (calculated).
# | Domain | Current (MIL) | Target (MIL) | Gap | Basis for current score
1 | Asset, Change & Configuration Management | 1 | 2 | 1 | Inventory exists but is a 2024 spreadsheet (W-06); no change/config management or discovery.
2 | Threat & Vulnerability Management | 0 | 2 | 2 | No OT vulnerability process or threat-intel use; patching vendor-locked/ad hoc (W-04).
3 | Risk Management | 0 | 3 | 3 | No risk program pre-assessment; risk treated as plant maintenance. NIS2 core.
4 | Identity & Access Management | 0 | 3 | 3 | Shared vendor VPN account, no MFA (W-02); default RTU credentials (W-09). Access not attributable.
5 | Situational Awareness | 1 | 2 | 1 | 24/7 control room gives operational monitoring; no security logging/SIEM for OT.
6 | Event & Incident Response, Continuity | 1 | 3 | 2 | IT IR plan exists but excludes the plant; no OT playbooks, roles, or exercises (W-08).
7 | Third-Party Risk Management | 0 | 2 | 2 | No security requirements on Nortec and no review of its access or practices.
8 | Workforce Management | 1 | 2 | 1 | Security is part-time IT-manager responsibility; no OT security roles or training.
9 | Cybersecurity Architecture | 0 | 3 | 3 | Flat network, no OT DMZ, no segmentation (AO-1, AO-2, AO-3). The structural finding.
10 | Cybersecurity Program Management | 0 | 2 | 2 | No governed OT security program, sponsorship, or strategy. Security treated as maintenance.
Average current MIL is about 0.4. Biggest gaps (3): Risk Management, Identity & Access, Cybersecurity Architecture.

## Gap Analysis
Gap Analysis
What is missing to close each gap, and the roadmap items that address it.
Domain | Current | Target | Gap | What is missing to close it | Roadmap
Asset, Change & Configuration Management | 1 | 2 | 1 | A maintained inventory with assigned ownership, plus change and configuration management for OT. | RM-04, RM-05, RM-10
Threat & Vulnerability Management | 0 | 2 | 2 | A basic OT vulnerability process, threat-intel use, and compensating controls for the Windows 7 HMIs. | RM-12
Risk Management | 0 | 3 | 3 | A documented, owned, policy-governed risk process reviewed on a cycle (this assessment is the start). | RM-10
Identity & Access Management | 0 | 3 | 3 | Uniquely attributable access, MFA, least privilege, and periodic access review. | RM-01, RM-02, RM-08
Situational Awareness | 1 | 2 | 1 | Security logging and monitoring for OT beyond the operational control-room view. | RM-14
Event & Incident Response, Continuity | 1 | 3 | 2 | An OT-specific IR plan with roles, resourcing, regular exercises, and improvement. | RM-03
Third-Party Risk Management | 0 | 2 | 2 | Security requirements in supplier contracts, a vendor questionnaire, and periodic review. | RM-11
Workforce Management | 1 | 2 | 1 | Defined OT security roles and role-based OT security training. | RM-13
Cybersecurity Architecture | 0 | 3 | 3 | An OT DMZ, segmentation into zones with enforced conduits, and governed architecture standards. | RM-06, RM-07, RM-08, RM-09
Cybersecurity Program Management | 0 | 2 | 2 | A governed OT security program with sponsorship, scope, roles, and strategy. | RM-10

## Roadmap
Remediation Roadmap
14 initiatives, sequenced by horizon. Each tied to the risks (R-01..R-14) it closes and the domains it lifts.
ID | Initiative | Horizon | Effort | Impact | Risks addressed | Domain lift
RM-01 | Remove default credentials on all remote RTUs; set unique per-device credentials | Quick win (0-3 mo) | Low | High | R-07 | ACCESS to MIL1
RM-02 | Replace the shared Nortec VPN account with named identities and MFA; remove standing access | Quick win (0-3 mo) | Low-Med | High | R-03 | ACCESS to MIL1-2
RM-03 | Write and adopt an OT-specific incident response plan; run a first tabletop exercise | Quick win (0-3 mo) | Med | High | R-10 | RESPONSE to MIL2
RM-04 | Introduce a removable-media control policy for OT (allow-listing, scanning, minimize use) | Quick win (0-3 mo) | Low | Med | R-08 | THREAT support
RM-05 | Centralize PLC logic and configuration backups off the field laptop; add version control | Quick win (0-3 mo) | Low | Med | R-09 | ASSET support
RM-06 | Build a Level 3.5 OT DMZ with a replica historian; end the historian's dual-homing | Structural (3-12 mo) | High | High | R-01, R-13 | ARCHITECTURE toward MIL2
RM-07 | Segment the flat control LAN into the Phase 2 zones with enforced conduits | Structural (3-12 mo) | High | High | R-12, R-02, R-05 | ARCHITECTURE toward MIL3
RM-08 | Move the cellular telemetry VPN to land in the DMZ; broker vendor access via an MFA jump host | Structural (3-12 mo) | Med-High | High | R-02, R-03 | ARCHITECTURE, ACCESS to MIL3
RM-09 | Isolate the chlorine dosing zone (Z6) behind an enforced conduit; add setpoint-change monitoring | Structural (3-12 mo) | Med | High | R-04, R-14 | ARCHITECTURE, SITUATION
RM-10 | Stand up a governed OT security program: sponsorship, scope, roles, policy set, recurring risk cycle | Program (6-24 mo) | High | High | Foundational (all) | PROGRAM to MIL2, RISK to MIL2-3
RM-11 | Formalize third-party risk management for Nortec and future suppliers (contract terms, questionnaire, review) | Program (6-24 mo) | Med | Med | R-03 (governance) | THIRD-PARTIES to MIL2
RM-12 | Establish OT vulnerability management; apply compensating controls for the Windows 7 HMIs pending replacement | Program (6-24 mo) | Med | Med | R-05 | THREAT to MIL2
RM-13 | Define OT security roles and deliver role-based OT security training | Program (6-24 mo) | Med | Med | Workforce capability | WORKFORCE to MIL2
RM-14 | Deploy OT security logging and monitoring with a basic set of detection use cases | Program (6-24 mo) | Med-High | Med | Detection across all | SITUATION to MIL2